## Replacement Budget
Parish Name (date)
Catholic Archdiocese of Seattle-Life Cycle Analysis Comments are in Red to assist in filling in the information.
Replacement Item | Physical Description or Replacement Interval | Ave Current Age | Typical Useful Life | Useful Life Remaining | First Cycle Scheduled for Replacement | Second Cycle Scheduled for Replacement | Third Cycle Scheduled for Replacement | Date Inspected | Qty | Unit | Unit Cost | Estimated Replacement Cost in 2015 $'s | Replacement Item | Typical Useful Life | Useful Life Remaining | Estimated Replacement Cost in 2015 $'s
[17 empty] | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
List all buildings separately and if needed by building floor level. Below information is for example only. | Provide as much detail as possible, if needed add attachments with supporting information.
Exterior |  |  |  |  | This cycle is based on the typical useful life | After the first cycle is complete this is the second cycle | After the second cycle is complete this is the second cycle | [5 empty] | Exterior | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Brick-Tuck-point West Side | spot tuck-point every 5 years-now | 5 | 5 | 0 | 2015 | 2020 | 2025 | 2015-01-01 | 1 | JOB | 3000 | 3000 | Brick-Tuck-point West Side | 5 | 0 | 3000 | 4350 | 0 | 0 | 0 | 0 | 4800 | 0 | 0 | 0 | 0 | 5250 | 0 | 0 | 0 | 0 | 6037.5 | 0 | 0 | 0 | 0
Brick-Grout East Side | Re-grout every 15 years | 15 | 15 | 0 | 2015 | 2030 | 2045 | 2015-01-01 | 1 | JOB | 10000 | 10000 | Brick-Grout East Side | 15 | 0 | 10000 | 14500 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 19000 | 0 | 0 | 0 | 0
East Side - Paint Wall | Only soffits/eaves/window frames require paint | 5 | 7 | 2 | 2017 | 2024 | 2031 | 2015-01-01 | 1 | JOB | 8000 | 8000 | East Side - Paint Wall | 7 | 2 | 8000 | 0 | 0 | 12080 | 0 | 0 | 0 | 0 | 0 | 0 | 13760 | 0 | 0 | 0 | 0 | 0 | 0 | 15440 | 0 | 0 | 0
Roof-upper | Assume 20 year life for replacement | 12 | 20 | 8 | 2023 | 2043 | 2063 | 2015-01-01 | 8683.4541 | SF | 8 | 69467.633 | Roof-upper | 20 | 8 | 69467.633 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 117400.2997 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Roof-lower | Assume 20 year life for replacement | 12 | 15 | 3 | 2018 | 2033 | 2048 | 2015-01-01 | 360 | SF | 8 | 2880 | Roof-lower | 15 | 3 | 2880 | 0 | 0 | 0 | 4435.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5731.2 | 0
Roof-Silver coat | re-coat every 3 years | 3 | 3 | 0 | 2015 | 2018 | 2021 | 2015-01-01 | 9043.4541 | SF | 0.3 | 2713.0362 | Roof-Silver coat | 3 | 0 | 2713.0362 | 3933.9025 | 0 | 0 | 4178.0758 | 0 | 0 | 4422.2491 | 0 | 0 | 4820.2515 | 0 | 0 | 5254.0741 | 0 | 0 | 5726.9408 | 0 | 0 | 6242.3655 | 0
Parking lot seal coat | Re-coat every 4 years | 2 | 4 | 2 | 2017 | 2021 | 2025 | 2015-01-01 | 60000 | SF | 0.2 | 12000 | Parking lot seal coat | 4
Parking lot stripping | Re-stripe with seal coating | 2 | 4 | 2 | 2017 | 2021 | 2025 | 2015-01-01 | 1 | JOB | 750 | 750 | Parking lot stripping | 4
Add rows as necessary
Building Interior | [12 empty] | Building Interior
Painting | Re-paint every 7 years | 1 | 7 | 6 | 2017 | 2024 | 2031 | 2015-01-01 | 1 | EA | 100 | 100 | Painting | 7 | 6 | 100 | 103 | 106.09 | 109.2727 | 112.5509 | 115.9274 | 119.4052 | 122.9874 | 126.677 | 130.4773 | 130.4773 | 134.3916 | 138.4234 | 142.5761 | 146.8534 | 151.259 | 155.7967 | 160.4706 | 165.2848 | 170.2433 | 175.3506
Carpet Replacement | Every 10 years | 3 | 10 | 7 | 2017 | 2027 | 2037 | 2015-01-01 | 1 | EA | 10000 | 10000 | Carpet Replacement | 10 | 7
VCT Replacement | Every 20 years | 1 | 1 | 0 | 2017 | 2018 | 2019 | 2015-01-01 | 2 | EA | 75 | 150 | VCT Replacement | 1 | 0 | 150 | 154.5 | 159.135 | 163.9091 | 168.8263 | 173.8911 | 179.1078 | 184.4811 | 190.0155 | 195.716 | 201.5875 | 207.6351 | 213.8641 | 220.2801 | 226.8885 | 233.6951 | 240.706 | 247.9271 | 255.365 | 263.0259 | 270.9167
Add rows as necessary
Equipment |  |  |  | 0 | [8 empty] | Equipment |  |  |  | 2030: 0; 2031: 0; 2032: 0; 2033: 0; 2034: 0
Steamer | Electric Unit | 6 | 25 | 19 | 2034 | 2059 | 2084 | 2015-01-01 | 1 | EA | 2000 | 2000 | Steamer | 25 | 19 | 2000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4040
Stoves | 2 Stoves | 10 | 30 | 20 | 2035 | 2065 | 2095 | 2015-01-01 | 2 | EA | 5000 | 10000 | Stoves | 30 | 20 | 10000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Convection oven | Electric Unit | 1 | 25 | 24 | 2039 | 2064 | 2089 | 2015-01-01 | 1 | EA | 3000 | 3000 | Convection oven | 25 | 24 | 3000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Mixer | Electric Unit | 12 | 35 | 23 | 2038 | 2073 | 2108 | 2015-01-01 | 1 | EA | 1500 | 1500 | Mixer | 35 | 23 | 1500 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Walk In Cooler/Freezer | Replace compressor every 10 years | 8 | 40 | 32 | 2047 | 2087 | 2127 | 2015-01-01 | 1 | EA | 2500 | 2500 | Walk In Cooler/Freezer | 40 | 32 | 2500 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Double Wide Fridges | Replace compressor every 10 years | 5 | 40 | 35 | 2050 | 2090 | 2130 | 2015-01-01 | 1 | EA | 1200 | 1200 | Double Wide Fridges | 40 | 35 | 1200 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Deep Fat Fryer | Electric Unit | 12 | 30 | 18 | 2033 | 2063 | 2093 | 2015-01-01 | 1 | EA | 1800 | 1800 | Deep Fat Fryer | 30 | 18 | 1800 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3582 | 0
Compactor | Leave as is |  |  | 0 | 2015 | 2015 | 2015 | 2015-01-01 | 1 | EA | 5000 | 5000 | Compactor | 0 | 0 | 5000 | 7250 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Add rows as necessary
Major systems |  |  |  | 0 | [8 empty] | Major systems
Electrical | Breakers not available | 32 | 50 | 18 | 2033 | 2083 | 2133 | 2015-01-01 | 1 | JOB | 50000 | 50000 | Electrical | 50 | 18 | 50000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 99500 | 0
Plumbing - Service | Service to building | 32 | 50 | 18 | 2033 | 2083 | 2133 | 2015-01-01 | 1 | JOB | 15000 | 15000 | Plumbing - Service | 50 | 18 | 15000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 29850 | 0
Plumbing - Supply | Hot and Cold piping-copper | 32 | 75 | 43 | 2058 | 2133 | 2208 | 2015-01-01 | 1 | JOB | 3875 | 3875 | Plumbing - Supply | 75 | 43 | 3875 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Plumbing - Drains | Drains | 32 | 75 | 43 | 2058 | 2133 | 2208 | 2015-01-01 | 1 | JOB | 250 | 250 | Plumbing - Drains | 75 | 43 | 250 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Plumbing-Recirculation | Recirculating Pumps | 6 | 10 | 4 | 2019 | 2029 | 2039 | 2015-01-01 | 6 | EA | 250 | 1500 | Plumbing-Recirculation | 10 | 4 | 1500 | 0 | 0 | 0 | 0 | 2355 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2805 | 0 | 0 | 0 | 0 | 0
Elevator | Repair covered in maint. Agreement | 12 | 25 | 13 | 2028 | 2053 | 2078 | 2015-01-01 | 1 | EA | 1000 | 1000 | Elevator | 25 | 13 | 1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1840 | 0 | 0 | 0 | 0 | 0 | 0
Fire Alarm System | Yearly repair | 1 | 1 | 0 | 2015 | 2016 | 2017 | 2015-01-01 | 1 | EA | 500 | 500 | Fire Alarm System | 1 | 0 | 500 | 515 | 530.45 | 546.3635 | 562.7544 | 579.637 | 597.0261 | 614.9369 | 633.385 | 652.3866 | 671.9582 | 692.1169 | 712.8804 | 734.2669 | 756.2949 | 778.9837 | 802.3532 | 826.4238 | 851.2165 | 876.753 | 903.0556
Mechanical System | Yearly repair | 1 | 1 | 0 | 2015 | 2016 | 2017 | 2015-01-01 | 1 | EA | 1500 | 1500 | Mechanical System | 1 | 0 | 1500 | 1545 | 1591.35 | 1639.0905 | 1688.2632 | 1738.9111 | 1791.0784 | 1844.8108 | 1900.1551 | 1957.1598 | 2015.8746 | 2076.3508 | 2138.6413 | 2202.8006 | 2268.8846 | 2336.9511 | 2407.0597 | 2479.2714 | 2553.6496 | 2630.2591 | 2709.1669
Fire Protection | Replace heads | 10 | 50 | 40 | 2055 | 2105 | 2155 | 0 | 1 | JOB | 2000 | 2000 | Fire Protection | 50 | 40 | 2000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Add rows as necessary
Starting Balance |  |  | 50000 | (Balance in reserves for repairs)
Starting Annual Addition |  |  | 10000 | (Amount set aside yearly to add to reserves) | [11 empty] | TOTAL EXPENDITURES: | 32351.4025 | 2387.025 | 14538.6357 | 11145.6706 | 4963.3667 | 7486.6177 | 7189.4653 | 2850.2327 | 120336.0394 | 21600.149 | 8360.4945 | 3203.8093 | 8553.9977 | 5238.9213 | 6305.8889 | 34370.3564 | 19154.0931 | 3825.5158 | 148845.8468 | 8098.4898
Assumed Annual Cost Inflation Rate |  |  | 3% | (Assume a cost of inflation at present time but track this as it will change yearly)
Assumed Annual Yearly Addition Inflation Rate |  |  | 3% | (Yearly increase in annual addition budget for reserves)
|  | Assumed interest on account | 3.25% | (PRF savings account interest) | [9 empty] | Carry Over Balance |  |  | 95000 | 75498.5975 | 85676.5304 | 84317.1905 | 86628.3056 | 95518.8762 | 102490.5656 | 110316.3403 | 123074.3364 | 19098.228 | 11118.7576 | 16530.9897 | 27665.4488 | 34199.0234 | 44671.41 | 54831.5606 | 37685.8252 | 35709.3713 | 49483.6129 | -80853.3948
[16 empty] | Interest earned on carry over balance | 2850 | 2264.9579 | 2570.2959 | 2529.5157 | 2598.8492 | 2865.5663 | 3074.717 | 3309.4902 | 3692.2301 | 572.9468 | 333.5627 | 495.9297 | 829.9635 | 1025.9707 | 1340.1423 | 1644.9468 | 1130.5748 | 1071.2811 | 1484.5084 | 0
|  |  |  | Always check the spread sheet calculations. | [9 empty] | Annual Addition |  |  | 10000 | 10300 | 10609 | 10927.27 | 11255.0881 | 11592.7407 | 11940.523 | 12298.7387 | 12667.7008 | 13047.7318 | 13439.1638 | 13842.3387 | 14257.6089 | 14685.3371 | 15125.8972 | 15579.6742 | 16047.0644 | 16528.4763 | 17024.3306 | 17535.0605
[14 empty] | This Year's Expenditures |  |  | -32351.4025 | -2387.025 | -14538.6357 | -11145.6706 | -4963.3667 | -7486.6177 | -7189.4653 | -2850.2327 | -120336.0394 | -21600.149 | -8360.4945 | -3203.8093 | -8553.9977 | -5238.9213 | -6305.8889 | -34370.3564 | -19154.0931 | -3825.5158 | -148845.8468 | -8098.4898
[14 empty] | Reserve Balance |  |  | 75498.5975 | 85676.5304 | 84317.1905 | 86628.3056 | 95518.8762 | 102490.5656 | 110316.3403 | 123074.3364 | 19098.228 | 11118.7576 | 16530.9897 | 27665.4488 | 34199.0234 | 44671.41 | 54831.5606 | 37685.8252 | 35709.3713 | 49483.6129 | -80853.3948 | -71416.8241
Note amount in reserves at end of twenty years.
Formulas:
Date Inspected = [Date Inspected, row above]